ApD

On death of patient:

* Request return of home monitor box if applicable.
* Discontinue patient’s home monitoring on website.
* Discharge patient’s from Pacing Clinic / Virtual Follow up.
* Close patient file on CVIS.

Once ICD is disabled email patient’s Consultant informing them of completion. Consultant to inform Cardiology department when patient dies.

FLOWCHART FOR DEACTIVATION OF ICDS

Out Patient

Disable ICD - turn off detection monitor zone - therapies off –shocks off – ATP off – all other patient alarms/alerts off.

Cardiologist or Physiologist to check request has been documented in patient’s notes.

Decision made by Consultant or G.P. in discussion with patient.

TEP Documentation completed, decision documented in patient’s notes.

In Patient

Cardiologist / Physiologist to interrogate the device and store all information.

Cardiologist or Physiologist response - aim to deactivate ICD within 48 hours.

Cardiology request entered via CVIS system.

Request from G.P. or Doctor looking after patient / Prospect Nurse.

Telephone referrals to be completed on ICD Request form and faxed back. This to be scanned into CVIS System.

Request must be in a traceable format, email or hard copy, and signed on headed paper or stamped with Institution stamp.

TEP Alert raised from clinical / GP / Community Matron

Conversation Project Alert raised

IT Action